## EMS
| Type | Description | Item No. | Price Group | Price in Euro
Universal Measuring Instrument UMG 103 | UMG 103-CBM | L-N: 115 … 277 V AC for supply from one phase / L-N: 80 … 277 V AC for supply from three phases | 5228001 | 1 | 259
Power Analyser UMG 104 | UMG 104 | 95 … 240 V AC, 135 … 340 V DC | 5220201 | 1 | 499
| UMG 104 | 20 … 50 V AC, 20 … 70 V DC | 5220205 | 1 | 551
| UMG 104 | 50 … 110 V AC, 50 … 155 V DC | 5220003 | 1 | 551
| UMG 104P | 95 … 240 V AC, 135 … 340 V DC | 5220202 | 1 | 592
| accessories: RS232, connection cable | 2 m, 5-pole | 802427 | 3 | 17
RCM and Energy data | UMG 20CM | 90 … 276 V AC / DC | 1401625 | 1 | 1259
Power Analyser UMG 604 | UMG 604E-PRO | 50 … 110 V AC, 50 … 155 V DC | 5216012 | 5 | 780
| UMG 604E-PRO (UL) | 20 … 55 V AC, 20 … 77 V DC | 5216222 | 5 | 780
| UMG 604E-PRO (UL) | 95 … 240 V AC, 135 … 340 V DC | 5216202 | 5 | 699
| UMG 604EP-PRO (UL) | 95 … 240 V AC, 135 … 340 V DC | 5216201 | 5 | 865
| UMG 604EP-PRO (UL) | 20 … 55 V AC, 20 … 77 V DC | 5216221 | 5 | 915
| BACnet |  | 5216081 | 5 | 100
Power Quality Analyser UMG 605 | UMG 605-PRO | 50 … 110 V AC, 50 … 155 V DC | 5216028 | 5 | 1295
| UMG 605-PRO | 95 … 240 V AC, 135 … 340 V DC | 5216227 | 5 | 1295
| UMG 605-PRO | 20 … 55 V AC, 20 … 77 V DC | 5216229 | 5 | 1295
| BACnet |  | 5216083 | 5 | 100
Universal Measuring Instrument UMG 96L | UMG 96L | L-N: 196 ... 255 V AC | 5214001 | 1 | 139
Universal Measuring Instrument UMG 96 | UMG 96 | L-N: 196 ... 275 V AC | 5209001 | 1 | 169
Universal Measuring Instrument UMG 96S with intzerface | UMG 96S | L-N: 85 ... 300 V AC | 5213001 | 1 | 199
| UMG 96S | Clock & Memory | 5213017 | 1 | 389
UMG 96RM | UMG 96RM | 90 ... 277 V AC, 90 ... 250 V DC | 5222061 | 1 | 265
| UMG 96RM | 24 ... 90 V AC, 24 ... 90 V DC | 5222070 | 1 | 265
| UMG 96RM-E | 90 ... 277 V AC, 90 ... 250 V DC | 5222062 | 1 | 599
| UMG 96RM-E | 24 ... 90 V AC, 24 ... 90 V DC | 5222063 | 1 | 599
| UMG 96RM-P | 90 ... 277 V AC, 90 ... 250 V DC | 5222064 | 1 | 399
| UMG 96RM-P | 24 ... 90 V AC, 24 ... 90 V DC | 5222065 | 1 | 399
| UMG 96RM-CBM | 90 ... 277 V AC, 90 ... 250 V DC | 5222066 | 1 | 373
| UMG 96RM-CBM | 24 ... 90 V AC, 24 ... 90 V DC | 5222067 | 1 | 373
| UMG 96RM-M | 90 ... 277 V AC, 90 ... 250 V DC | 5222069 | 1 | 295
| UMG 96RM-M | 24 ... 90 V AC, 24 ... 90 V DC | 5222073 | 1 | 295
| UMG 96RM-EL | 90 ... 277 V AC, 90 ... 250 V DC | 5222068 | 1 | 295
| UMG 96RM-EL | 24 ... 90 V AC, 24 ... 90 V DC | 5222072 | 1 | 295
| UMG 96RM-PN | 90 ... 277 V AC, 90 ... 250 V DC | 5222090 | 1 | 498
| UMG 96RM-PN | 24 ... 90 V AC, 24 ... 90 V DC | 5222091 | 1 | 498
| accessories: mounting clips | for fixing the meter when panel thicknesses is larger than 6 mm or due to external shocks | 5222251 | 1 | 10
| BACnet communication ( UMG 96 RM-E) |  | 5222081 | 5 | 100
Power Analyser UMG 507 | UMG 507E | 85 ... 265 V AC, 120 ... 370 V DC | 5215001 | 1 | 890
Power Analyser UMG 508 | UMG 508 | 95 … 240 V AC, 135 … 340 V DC | 5221001 | 5 | 995
| UMG 508 | 44 … 130 V AC, 48 … 180 V DC | 5221002 | 5 | 1045
| UMG 508 (UL) | 95 ... 240 V AC,80 ... 280 V DC | 5221011 | 5 | 995
| UMG 508 (UL) | 44 ... 130 V AC, 48 ... 180 V DC | 5221012 | 5 | 1045
| BACnet |  | 5221081 | 5 | 100
Power Analyser UMG 509 | UMG 509-PRO | 95 … 240 V AC, 80 … 300 V DC | 5226001 | 5 | 995
| UMG 509-PRO | 48 … 110 V AC, 24 … 150 V DC | 5226003 | 5 | 1099
| BACnet |  | 5221081 | 5 | 100
Power Quality Analyser UMG 511 Class A | UMG 511 | 95 … 240 V AC, 80 … 340 V DC | 5219001 | 5 | 2399
| UMG 511 | 44 … 130 V AC, 48 … 180 V DC | 52.19.002 | 5 | 2399
| UMG 511 (UL) | 95 ... 240 V AC, 80 ... 280 V DC | 5219011 | 5 | 2399
| UMG 511 (UL) | 44 ... 130 V AC, 48 ... 180 V DC | 5219012 | 5 | 2399
| BACnet |  | 5219081 | 5 | 100
Power Quality Analyser UMG 512 Class A | UMG 512-PRO (UL) | 95 … 240 V AC, 80 … 300 V DC | 5217011 | 5 | 2399
| UMG 512-PRO (UL) | 48 … 110 V AC, 24 … 150 V DC | 5217003 | 5 | 2399
| BACnet |  | 5217081 | 5 | 100
Portable energy measurement devices | MRG 96RM-E RCM Flex | Portable energy measurement device with RCM and Rogowski coil | 5216906 | 3 | 2599
| MRG 512 PQ Flex | Portable power quality analyser with RCM and Rogowski coil | 5216905 | 3 | 4799
GridMonitor | GridMonitor | 500 x 500 x 300 mm | 5200285 | 3 | on request
| Mobiler GridMonitor | 625 x 500 x 366 mm | 5200286 | 3 | on request
MID energy meter | B21 311-10J (1 x S0) | Single-phase energy meter, 65 A | 1401353 | 1 | 130
| B21 312-10J (Modbus) | Single-phase energy meter, 65 A | 1401354 | 1 | 164
| B21 313-10J (M-Bus) | Single-phase energy meter, 65 A | 1401355 | 1 | 164
| B23 311-10J (1 x S0) | Three-phase energy meter, 65 A | 1401356 | 1 | 180
| B23 312-10J (Modbus) | Three-phase energy meter, 65 A | 1401357 | 1 | 214
| B23 313-10J (M-Bus) | Three-phase energy meter, 65 A | 1401358 | 1 | 214
| B24 311-10J (1 x S0) | Transformer-connected meter, three-phase, 1/5 A | 1401359 | 1 | 180
| B24 312-10J (Modbus) | Transformer-connected meter, three-phase, 1/5 A | 1401360 | 1 | 214
| B24 313-10J (M-Bus) | Transformer-connected meter, three-phase, 1/5 A | 1401361 | 1 | 214
ProData® - data logger and Ethernet-Modbus-Gateway (CE/UL labelling) | ProData® | Data logger, 20… 250 V AC, 20 … 300 V DC | 5224011 | 1 | 425
| accessories: ProData® S0-Modul | with 1,3 kΩ resistors | 5224111 | 1 | 15
FBM modules | FBM 10I | 10 digital inputs | 1506076 | 1 | 399
| FBM 10PT1000 | 10 temperature inputs | 1506077 | 1 | 399
| FBM 10R-NC | 10 relay outputs | 1506078 | 1 | 399
| FBM DI8-AI8 | 8 digital inputs and -outputs | 1506079 | 1 | 399
Software and IT-Solution
Power quality software – GridVis® | GridVis®-Basic |  | 5100116 | 1 | 0
| GridVis®-Professional |  | 5100160 | 1 | 1250
| GridVis®-Service |  | 5100180 | 1 | 3950
| GridVis®-Ultimate |  | 5100190 | 1 | 7950
| GridVis®-Professional | Update extension per year | 5100161 | 1 | 125
| GridVis®-Professional | Upgrade next suite | 5100162 | 1 | 2700
| GridVis®-Service | Update extension per year | 5100181 | 1 | 395
| GridVis®-Service | Upgrade auf nächsthöhere Suite | 5100182 | 1 | 4000
| GridVis®-Ultimate | Update extension per year | 5100191 | 1 | 795
APPs – Software based expansions for UMGs | Alert Messenger | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 und PRO-Serie | 51.00.209 | 1 | 120
| EN50160 Watchdog | UMG 605 / UMG 512 | 51.00.264 | 1 | 120
| FBM10PT1000 | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 und PRO-Serie | 51.00.211 | 1 | 0
| Humidity & Temperature JFTF-I | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 und PRO-Serie | 15.06.337 | 1 | 350
| GPS Sync | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 und PRO-Serie | 51.00.291 | 1 | 350
| IEC61000-2-4 Watchdog | UMG 605 / UMG 512 | 51.00.265 | 1 | 350
| IEC61000-2-4 Watchdog Light | UMG 604 / UMG 509 | 51.00.309 | 1 | 290
| Measurement monitor | UMG 96RM-E | 51.00.246 | 1 | 130
| Multitouch | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 und PRO-Serie | 51.00.207 | 1 | 80
| Push Service | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 | 51.00.238 | 1 | 40
| Push Service + UMG 20CM | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 und PRO-Serie | 51.00.285 | 1 | 0
| SNMP | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 und PRO-Serie | 51.00.310 | 1 | 0
Energy-Potal Web based EnMs | APP Push Service 2.0 (per measuring device) | UMG 604 / UMG 605 / UMG 508 / UMG 509 / UMG 511 / UMG 512 | 5100238 | 5 | 130
| APP Push Service 2.0 (per measuring device) | UMG 20CM | 5100285 | 5 | 130
| Hosting solution Janitza Energy Portal | up to 50 UMGs | 5100255 | 4 | 580
| up to 100 UMG |  | 5100*** | 4 | 1160
| up to 150 UMG |  | 5100*** | 4 | 1740
| up to 200 UMG |  | 5100*** | 4 | 2320
| up to 250 UMG |  | 5100*** | 4 | 2900
| up to 300 UMG |  | 5100*** | 4 | 3480
| > 300 UMG |  | 5100*** | 4 | on request
| Setup customized Dashboards |  | 5100256 | 4 | 82
| extension of data archiving from 3 to 5 years |  | 5100258 | 4 | 300
OPC Server | Modbus Suite Top Server |  | 5100150 | 3 | 1547
Database-Server | Server (Tower) | Windows German | 1506352 | 3 | on request
| Server (Tower) | Windows English | 1506353 | 3 | on request
| Server (Rack) | Windows German | 1506354 | 3 | on request
| Server (Rack) | Windows English | 1506355 | 3 | on request
| setup package 1 | for MS-SQL | 5101018 | 4 | 575
| setup package 2 | for MySQL | 5101019 | 4 | 575
| setup package 3 | for JanDB | 5101023 | 4 | 575
Industrial Data Communication
| EasyGateway EG400 | Suitable for: UMG 604 / 605 / 96RM-E / 508 / 509 / 511 / 512 | 1506088 | 3 | 699
| AMR rubber ntenna, 2 m-cable |  | 1506089 | 3 | 31
| Extensioncable, 5m |  | 1506091 | 3 | 99
| Extensioncable, 10m |  | 1506092 | 3 | 159
| Angle antenna |  | 1506093 | 3 | 26
| INOX mounting angle |  | 1506094 | 3 | 16
| Administrator fee (per case) |  | 1506095 | 3 | 77
| Managed Service – Connect-2-Control | incl. 15 devices | 1506096 | 3 | 204
| Managed Service – Connect-2-Control | additional 5 devices | 1506097 | 3 | 180
| Managed Service – Connect-2-Control | additional 5 Portal-User | 1506098 | 3 | 24
| Gateway MBUS (MBUS over Ethernet) | MG80 | 1506108 | 3 | 567
| PowerToStore (PTS) | Buffer power supply with capacitors | 1506405 | 3 | 379
| GPS radio receiver |  | 1506240 | 3 | 149
| Industrial DIN rail Ethernet Switch NS-208 | NS-208 | 1506041 | 3 | 181
| RS485 Repeater, isolated | K-7510 | 1506024 | 3 | 199
| RS485 to 3 x RS485 Hub | K-7513 | 1506035 | 3 | 264
| USB to 3 x RS485 Hub, isolated | K7563 | 1506025 | 3 | 268
| 1-phase power supply | Connectpower | 1605002 | 3 | 72
| Industrial Power Supply TCL for DIN rail mounting | TCL | 1605004 | 3 | 153
| Isolation transformer for auxiliary power supply | isolation transformer | 302036 | 3 | 35
| D-SUB-bus connector – SUBCON-PLUS-PROFIB/AX/SC | PROFIB/AX/SC | 1310539 | 3 | 45
| D-SUB-bus connector – SUBCON-PLUS-PROFIB/SC2 | PROFIB/ SC2 | 1310543 | 3 | 45
Touchpanels – Applikationen with JPC35 | JPC35 version „MultiTouch“ |  | 1506313 | 3 | 345
| JPC35 version „RS232“ |  | 1506314 | 3 | 345
| JPC35 Version „RS485“ |  | 1506315 | 3 | 345
Touchpanel | JPC35 | 3,5" , 16 grayscale | see above | see above | see above
Current- / Voltage transformers and Sensors
Mechanical accessories | Adapter AH96 | UMG 96L / 96 / 96S | 5209201 | 1 | 25
| Adapter AH96 | UMG 96RM (52.22.031 and 52.22.035) | 5222666 | 1 | 25
| Adapter AH96P | UMG 96S with Profibus | 5209202 | 1 | 29
| Adapter AH96P | UMG 96RM (52.22.034 / 037 / 039 / 033 / 036 / 032 / 038 / 040 | 5222667 | 1 | 29
| Adapter AH144 | UMG 507 / Prophi® | 5207666 | 1 | 59
| Adapter AH 144 | UMG 508 / 511 | 5219666 | 1 | 59
| Sealing (to IP54) | UMG 96RM, UMG 96RM-P, UMG 96RM-CBM, UMG 96RM-M, UMG 96RM-E, UMG 96RM-EL, UMG 96RM-PN | 2901065 | 1 | 4
| Sealing D96 (to IP42) | UMG 96RM, UMG 96RM-E/-P/ -CBM/-M/-EL/-PN, UMG 96, UMG 96S, UMG 96L | 2901907 | 1 | 4
| Sealing D144 (to IP42) | UMG 508 / UMG 509 / UMG 511 / UMG 512 and Prophi® | 2901903 | 1 | 4
| Blank cover BA96 | plastic black, 96 x 96 mm | 2912001 | 1 | 8
| Blank cover BA144 | plastic black 144 x 144 mm | 2912002 | 1 | 10
| Adapter plate AB144/1 | in RAL 7032 | 2912912 | 1 | 29
| dapter plate AB144/2 | in RAL 7035 | 2912913 | 1 | 29
| Ethernet Front Panel feed through EFD | with frame | 1308016 | 3 | 17
| Protective cover EFDD |  | 1308017 | 3 | 7

## PFC
Power factor correction (PFC) and Harmonic Filters
| Type | Description | Item No. | Price group | Price in Euro
PFC controller Prophi® | Prophi® 6R |  | 5208002 | 1 | 345
| Prophi® 12R |  | 5208003 | 1 | 435
| Prophi® 6T |  | 5208005 | 1 | 495
| Prophi® 12 T |  | 5208006 | 1 | 645
| Prophi® 6T6R |  | 5208007 | 1 | 640
| Prophi® 12RS |  | 5208008 | 1 | 695
| Prophi® 6T6RS |  | 5208009 | 1 | 905
| Prophi® 12TS |  | 5208091 | 1 | 910
PFC controller Prophi® | Prophi 7-I |  | 1416028 | 1 | 455
| Prophi 7-III |  | 1416037 | 1 | 1185
PFC protection- Capacitor monitoring | UMG 604E-PRO |  | 5216300 | 1 | 1830
Three-phase power capacitors | JCP525/4,1-D |  | 1902275 | 1 | 74
| JCP480/3,6-D |  | 1902205 | 1 | 62
| JCP525/8,3-D |  | 1902249 | 1 | 84
| JCP480/7,2-D |  | 1902210 | 1 | 67
| JCS525/10,0-D |  | 1902150 | 1 | 79
| JCP440/7,6-D |  | 1902211 | 1 | 68
| JCS525/12,5-D |  | 1902180 | 1 | 85
| JCS525/15,0-D |  | 1902103 | 1 | 92
| JCP440/9,1-D |  | 1902215 | 1 | 64
| JCP440/12,1-D |  | 1902217 | 1 | 85
| JCS480/15,5-D |  | 1902116 | 1 | 87
| JCP400/9,3-D |  | 1902219 | 1 | 85
| JCP400/10,0-D |  | 1902220 | 1 | 85
| JCP400/11,7-D |  | 1902221 | 1 | 90
| JCS440/15,0-D |  | 1902125 | 1 | 103
| JCP400/20,0-D |  | 1902228 | 1 | 175
| JCS440/28,2-D |  | 1902126 | 1 | 186
| JCS440/30,0-D |  | 1902127 | 1 | 195
Accessories for capacitors | SK60 | Cap with cable entry height +77 mm | 1902620 | 1 | 3.6
| SK70 | Cap with cable entry height +75 mm | 1902621 | 1 | 4.1
| ASS 1 | Terminal for D 60 / 70 mm 2 x 6 mm2 | 1902610 | 1 | 7.2
| ASS 2 | Terminal for D 85 mm 16 mm² | 1902612 | 1 | 8.2
Automatically controlled reactive power compensation system
Extractable module – without reactors | JF440/150ER6ES8184** | Stage power kvar 25/25/50/50 | 5081400 | 2 | 3833
| JF440/150ER12ES8184** | Stage power kvar 12,5/12,5/25/50/50 | 5081415 | 2 | 3969
| JF440/150ER6ES8184** | Stage power kvar 25/25/25... | 5081425 | 2 | 4032
| JF440/160ER8ES8184** | Stage power kvar 20/20/40... | 5081450 | 2 | 4084
| JF440/175ER7ES8184** | Stage power kvar 25/50/50/50 | 5081475 | 2 | 4069
| JF440/175ER14ES8184*** | Stage power kvar 12,5/12,5/25/25/50... | 5081490 | 2 | 4137
| JF440/180ER9ES8184** | Stage power kvar 20/40/40... | 5081515 | 2 | 4305
| JF440/200ER4ES8184** | Stage power kvar 50/50... | 5081540 | 2 | 4295
| JF440/200ER8ES8184** | Stage power kvar 25/25/50... | 5081550 | 2 | 4326
| JF440/200/ER16ES8184** | Stage power kvar 12,5/12,5/25/50... | 5081560 | 2 | 4431
| JF440/200ER10ES8184** | Stage power kvar 20/20/40... | 5081570 | 2 | 4567
| JF440/240ER12ES8184*** | Stage power kvar 20/20/40... | 5081600 | 2 | 5418
| JF440/250ER5ES8184** | Stage power kvar 50... | 5081625 | 2 | 5090
| JF440/250ER10ES8184** | Stage power kvar 25/25/50... | 5081635 | 2 | 5134
| JF440/250ER20ES8184*** | Stage power kvar 12,5/12,5/25/50... | 5081645 | 2 | 5481
| JF440/300ER6ES8184** | Stage power kvar 50/50... | 5081670 | 2 | 5660
| JF440/300ER12ES8184*** | Stage power kvar 25/25/50... | 5081680 | 2 | 5775
| JF440/300ER24ES8184*** | Stage power kvar 12,5/12,5/25/50... | 5081690 | 2 | 5943
| JF440/400ER8ES8184*** | Stage power kvar 50/50/50... | 5081693 | 2 | 8345
| JF440/500ER10ES8184*** | Stage power kvar 50/50/50... | 5081696 | 2 | 9607
| JF440/600ER12ES8184*** | Stage power kvar 50/50/50... | 5081900 | 2 | 11025
| accessories: base 100mm hight | SO100/800/400 | 2903317 | 2 | 142
| accessories: base 200mm hight | SO200/800/400 | 2903322 | 2 | 206
PFC module – without reactors | JF440/50EK1MO84 | Stage power kvar 50 | 5080700 | 2 | 895
| JF440/50/2EK2MO84 | Stage power kvar 25/25 | 5080740 | 2 | 1055
| JF440/50/3EK5MO84 | Stage power kvar 10/20/20 | 5080770 | 2 | 1060
| JF440/50/3/EK4MO84 | Stage power kvar 12,5/12,5/25 | 5080774 | 2 | 1060
| JF440/60/2EK3MO84 | Stage power kvar 20/40 | 5080775 | 2 | 1113
| JF440/60/4EK6MO84 | Stage power kvar 10/10/20/20 | 5080776 | 2 | 1144
| JF440/75/2EK3MO84 | Stage power kvar 25/50 | 5080800 | 2 | 1165
| JF440/75/3EK3MO84 | Stage power kvar 25/25/25 | 5080810 | 2 | 1197
| JF440/75/4EK6MO84 | Stage power kvar 12,5/12,5/25/25 | 5080811 | 2 | 1338
| JF440/80/2EK2MO84 | Stage power kvar 40/40 | 5080835 | 2 | 1290
| JF440/80/3EK4MO84 | Stage power kvar 20/20/40 | 5080837 | 2 | 1312
| JF440/100/2EK2MO84 | Stage power kvar 50/50 | 5080875 | 2 | 1286
| JF440/100/3EK4MO84 | Stage power kvar 25/25/50 | 5080880 | 2 | 1323
| JF440/100/4EK4MO84 | Stage power kvar 25/25/25/25 | 5080900 | 2 | 1417
| JF440/100/3EK5MO84 | Stage power kvar 20/40/40 | 5080902 | 2 | 1443
| JF440/100/4EK8MO84 | Stage power kvar 12,5/12,5/25/50 | 5080903 | 2 | 1491
| accessories: controll module with PFC controller Prophi® 6R | 6 stages (relay outputs) | 5080003 | 2 | 551
| accessories: controll module with PFC controller Prophi® 12R | 12 stages (relay outputs) | 5080004 | 2 | 659
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO84 | 5000100 | 2 | 16.2
Compact design – 7 % de-tuned | JF440/15ER3KB6825FK7 | Stage power kvar 5/10 | 5052020 | 2 | 1673
| JF440/20ER4KB6825FK7 | Stage power kvar 5/5/10 | 5052044 | 2 | 2008
| JF440/25ER5KB6825FK7 | Stage power kvar 5/10/10 | 5052080 | 2 | 2085
| JF440/31/ER5KB6825FK7 | Stage power kvar 6,25/12,5/12,5 | 5052110 | 2 | 2147
| JF440/35ER7KB6825FK7 | Stage power kvar 5/10/20 | 5052150 | 2 | 2317
| JF440/43,75ER7KB6825FK7 | Stage power kvar 6,25/12,5/25 | 5052180 | 2 | 2370
| JF440/50ER5KB6825FK7 | Stage power kvar 10/20/20 | 5052210 | 2 | 2450
| JF440/60ER6KB6123FK7 | Stage power kvar 10/20/30 | 5052225 | 2 | 2914
| JF440/75ER6KB6123FK7 | Stage power kvar 12,5/25/37,5 | 5052240 | 2 | 3193
Compact design – 14 % de-tuned | JF525/15ER3KB6825FK14 | Stage power kvar 5/10 | 5052520 | 2 | 1740
| JF525/20ER4KB6825FK14 | Stage power kvar 5/5/10 | 5052540 | 2 | 2173
| JF525/25ER5KB6825FK14 | Stage power kvar 5/10/10 | 5052580 | 2 | 2343
| JF525/31/ER5KB6825FK14 | Stage power kvar 6,25/12,5/12,5 | 5052610 | 2 | 2460
| JF525/35ER7KB6825FK14 | Stage power kvar 5/10/20 | 5052650 | 2 | 2575
| JF525/43,75ER7KB6825FK14 | Stage power kvar 6,25/12,5/25 | 5052680 | 2 | 2678
| JF525/50ER5KB6825FK14 | Stage power kvar 10/20/20 | 5052710 | 2 | 2760
| JF525/60ER6KB6123FK14 | Stage power kvar 10/20/30 | 5052725 | 2 | 3193
| JF525/75ER6KB6123FK14 | Stage power kvar 12,5/25/37,5 | 5052729 | 2 | 3615
Extractable module – 7 % de-tuned | JF440/60ER6ES8206FK7** | Stage power kvar 10/20/30 | 5089040 | 2 | 3990
| JF440/75ER6ES8206FK7** | Stage power kvar 12,5/12,5/25 | 5089080 | 2 | 4223
| JF440/100ER4ES8206FK7** | Stage power kvar 25/25/50 | 5089120 | 2 | 4336
| JF440/100ER8ES8206FK7** | Stage power kvar 12,5/12,5/25/50 | 5089200 | 2 | 4398
| JF440/100ER10ES8206FK7** | Stage power kvar 10/20/30/40 | 5089250 | 2 | 4454
| JF440/120ER6ES8206FK7** | Stage power kvar 20/20/40/40 | 5089320 | 2 | 5253
| JF440/150ER6ES8206FK7** | Stage power kvar 25/25/50/50 | 5089400 | 2 | 5278
| JF440/175ER7ES8206FK7** | Stage power kvar 25/50/50/50 | 5089440 | 2 | 5675
| JF440/200ER4ES8206FK7** | Stage power kvar 50… | 5089480 | 2 | 5768
| JF440/200ER8ES8206FK7** | Stage power kvar 25/25/50 | 5089520 | 2 | 5963
| JF440/200ER16ES8206FK7** | Stage power kvar 12,5/12,5/25/50 | 5089560 | 2 | 6396
| JF440/250/ER5ES8206FK7** | Stage power kvar 50… | 5089600 | 2 | 6777
| JF440/250ER10ES8206FK7** | Stage power kvar 25/25/50 | 5089640 | 2 | 7235
| JF440/300ER6ES8206FK7** | Stage power kvar 50… | 5089685 | 2 | 7725
| JF440/300ER12ES8206FK7*** | Stage power kvar 25/25/50 | 5089687 | 2 | 8219
| JF440/350ER7ES8206FK7-1S*** | Stage power kvar 50… | 5089720 | 2 | 9187
| JF440/350ER7ES8206FK7*** | Stage power kvar 50… | 5089722 | 2 | 10712
| JF440/400ER8ES8206FK7-1S*** | Stage power kvar 50… | 5089744 | 2 | 10660
| JF440/400ER8ES8206FK7*** | Stage power kvar 50… | 5089740 | 2 | 11536
| JF440/450ER9ES8206FK7*** | Stage power kvar 50… | 5089770 | 2 | 12566
| JF440/500ER10ES8206FK7*** | Stage power kvar 50… | 5089800 | 2 | 13184
| JF440/550ER11ES8206FK7*** | Stage power kvar 50… | 5089805 | 2 | 14729
| JF440/600ER12ES8206FK7*** | Stage power kvar 50… | 5089820 | 2 | 15553
| accessories: base 100 mm hight | SO100/800/600 | 5000150 | 2 | 144
| accessories: base 200 mm hight | SO200/800/600 | 5000151 | 2 | 208
Extractable module – 14 % de-tuned | JF525/60ER6ES8206FK14** | Stage power kvar 10/20/30 | 5093040 | 2 | 3893
| JF525/75ER6ES8206FK14** | Stage power kvar 12,5/12,5/25 | 5093080 | 2 | 4521
| JF525/100ER4ES8206FK14** | Stage power kvar 25/25/50 | 5093120 | 2 | 4480
| JF525/100ER8ES8206FK14** | Stage power kvar 12,5/12,5/25/50 | 5093200 | 2 | 4890
| JF525/100ER10ES8206FK14** | Stage power kvar 10/20/30/40 | 5093250 | 2 | 5130
| JF525/120ER6ES8206FK14** | Stage power kvar 20/20/40/40 | 5093320 | 2 | 5610
| JF525/150ER6ES8206FK14** | Stage power kvar 25/25/50/50 | 5093400 | 2 | 6025
| JF525/175ER7ES8206FK14** | Stage power kvar 25/50/50/50 | 5093440 | 2 | 6319
| JF525/200ER4ES8206FK14** | Stage power kvar 50… | 5093480 | 2 | 6530
| JF525/200ER8ES8206FK14** | Stage power kvar 25/25/50 | 5093520 | 2 | 6798
| JF525/200ER16ES8206FK14** | Stage power kvar 12,5/12,5/25/50 | 5093560 | 2 | 7261
| JF525/250/ER5ES8206FK14** | Stage power kvar 50… | 5093600 | 2 | 8034
| JF525/250ER10ES8206FK14** | Stage power kvar 25/25/50 | 5093640 | 2 | 8343
| JF525/300ER6ES8206FK14** | Stage power kvar 50… | 5093685 | 2 | 8961
| JF525/300ER12ES8206FK14*** | Stage power kvar 25/25/50 | 5093690 | 2 | 9373
| JF525/350ER7ES8206FK14-1S*** | Stage power kvar 50… | 5093720 | 2 | 10970
| JF525/350ER7ES8206FK14*** | Stage power kvar 50… | 5093722 | 2 | 12200
| JF525/400ER8ES8206FK14-1S*** | Stage power kvar 50… | 5093740 | 2 | 12154
| JF525/400ER8ES8206FK14*** | Stage power kvar 50… | 5093742 | 2 | 13287
| JF525/450ER9ES8206FK14*** | Stage power kvar 50… | 5093770 | 2 | 14636
| JF525/500ER10ES8206FK14*** | Stage power kvar 50… | 5093800 | 2 | 15656
| JF525/550ER11ES8206FK14*** | Stage power kvar 50… | 5093805 | 2 | 17098
| JF525/600ER12ES8206FK14*** | Stage power kvar 50… | 5093920 | 2 | 18128
| accessories: base 100 mm hight | SO 100/800/600 | 5000150 | 2 | 144
| accessories: base 200 mm hight | SO 200/800/600 | 5000151 | 2 | 208
PFC module – 7 % de-tuned | JF440/10EK1MO86FK7 | Stage power kvar 10 | 5088650 | 2 | 901
| JF440/12,5EK1MO86FK7 | Stage power kvar 12,5 | 5088680 | 2 | 932
| JF440/20EK1MO86FK7 | Stage power kvar 20 | 5088710 | 2 | 968
| JF440/25/EK1MO86FK7 | Stage power kvar 25 | 5088740 | 2 | 1158
| JF440/40EK1MO86FK7 | Stage power kvar 40 | 5088770 | 2 | 1256
| JF440/50EK1MO86FK7 | Stage power kvar 50 | 5088800 | 2 | 1225
| JF440/20/2EK2MO86FK7 | Stage power kvar 10 | 5088801 | 2 | 1292
| JF440/25/2EK2MO86FK7 | Stage power kvar 12,5 | 5088830 | 2 | 1360
| JF440/30/2EK2MO86FK7 | Stage power kvar 10/20 | 5088860 | 2 | 1390
| JF440/40/2EK2MO86FK7 | Stage power kvar 20 | 5088890 | 2 | 1500
| JF440/40/3EK2MO86FK7 | Stage power kvar 10/10/20 | 5088891 | 2 | 1700
| JF440/50/2EK2MO86FK7 | Stage power kvar 25 | 5088930 | 2 | 1480
| JF440/75/2EK2MO86FK7 | Stage power kvar 25/50 | 5088932 | 2 | 1838
| JF440/80/2EK2MO86FK7 | Stage power kvar 40 | 5088933 | 2 | 1926
| JF440/100/2EK2MO86FK7 | Stage power kvar 50 | 5088931 | 2 | 2039
| accessories: controll module with PFC controller Prophi® 6R | 6 stages (relay outputs) | 5080003 | 2 | 551
| accessories: controll module with PFC controller Prophi® 12R | 12 stages (relay outputs) | 5080004 | 2 | 659
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO84 | 5000100 | 2 | 16.2
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO86 | 5000101 | 2 | 16.2
PFC module – 14 % de-tuned | JF525/10EK1MO86FK14 | Stage power kvar 10 | 5092650 | 2 | 988
| JF525/12,5EK1MO86FK14 | Stage power kvar 12,5 | 5092680 | 2 | 1028
| JF525/20EK1MO86FK14 | Stage power kvar 20 | 5092710 | 2 | 1110
| JF525/25EK1MO86FK14 | Stage power kvar 25 | 5092740 | 2 | 1215
| JF525/40EK1MO86FK14 | Stage power kvar 40 | 5092770 | 2 | 1370
| JF525/50EK1MO86FK14 | Stage power kvar 50 | 5092800 | 2 | 1493
| JF525/20/2E2MO86FK14 | Stage power kvar 10 | 5092803 | 2 | 1483
| JF525/25/2EK2MO86FK14 | Stage power kvar 12,5 | 5092804 | 2 | 1540
| JF525/30/2EK2MO86FK14 | Stage power kvar 10/20 | 5092849 | 2 | 1545
| JF525/40/2EK2MO86FK14 | Stage power kvar 20 | 5092850 | 2 | 1660
| JF525/40/3EK3MO86FK14 | Stage power kvar 10/10/20 | 5092851 | 2 | 1895
| JF525/50/2EK2MO86FK14 | Stage power kvar 25 | 5092890 | 2 | 1802
| JF525/75/2EK2MO86FK14 | Stage power kvar 25/50 | 5092893 | 2 | 2183
| JF525/80/2EK2MO86FK14 | Stage power kvar 40 | 5092896 | 2 | 2225
| JF525/100/2EK2MO86FK14 | Stage power kvar 50 | 5092892 | 2 | 2540
| accessories: controll module with PFC controller Prophi® 6R | 6 stages (relay outputs) | 5080003 | 2 | 551
| accessories: controll module with PFC controller Prophi® 12R | 12 stages (relay outputs) | 5080004 | 2 | 659
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO84 | 5000100 | 2 | 16.2
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO86 | 5000101 | 2 | 16.2
Dynamic PFC systems
Extractable module – 7 % de-tuned | JF440/60ER6ES8206FK7Th** | Stage power kvar 10/20/30 | 5019040 | 2 | 6530
| JF440/75ER6ES8206FK7Th** | Stage power kvar 12,5/12,5/25/25 | 5019080 | 2 | 6800
| JF440/100ER4ES8206FK7Th** | Stage power kvar 25/25/50 | 5019120 | 2 | 6980
| JF440/120/ER6ES8206FK7Th** | Stage power kvar 20/20/40/40 | 5019320 | 2 | 8645
| JF440/100ER8ES8206FK7Th** | Stage power kvar 12,5/12,5/25/50 | 5019200 | 2 | 7990
| JF440/125ER10ES8206FK7Th** | Stage power kvar 12,5/25/37,5/50 | 5019325 | 2 | 8675
| JF440/150ER12ES8206FK7Th** | Stage power kvar 12,5/12,5/25/50… | 5019330 | 2 | 10990
| JF440/150ER6ES8206FK7Th** | Stage power kvar 25/25/50/50 | 5019400 | 2 | 9670
| JF440/175ERES8206FK7Th** | Stage power kvar 12,5/25/37,5/50… | 5019440 | 2 | 9980
| JF440/200ER4ES8206FK7Th** | Stage power kvar 50/50/50/50 | 5019480 | 2 | 10090
| JF440/200ER8ES8206FK7Th** | Stage power kvar 25/25/50… | 5019520 | 2 | 11260
| JF440/200ER16ES8206FK7Th** | Stage power kvar 12,5/12,5/25/50… | 5019560 | 2 | 11700
| JF440/250ER5ES8206FK7Th** | Stage power kvar 50/50… | 5019600 | 2 | 12790
| JF440/250ER10ES8206FK7Th** | Stage power kvar 25/25/50… | 5019640 | 2 | 12880
| JF440/250ER20ES8206FK7Th*** | Stage power kvar 12,5/12,5/25/50 | 5019645 | 2 | 14780
| JF440/300ER6ES8206FK7Th** | Stage power kvar 50/50… | 5019685 | 2 | 13400
| JF440/300ER12ES8206FK7Th*** | Stage power kvar 25/25/50… | 5019690 | 2 | 14960
| JF440/400ER8ES8206FK7Th*** | Stage power kvar 50/50… | 5019742 | 2 | 18400
| JF440/500ER10ES8206FK7Th*** | Stage power kvar 50/50... | 5019800 | 2 | 22480
| JF440/600ER12ES8206FK7Th*** | Stage power kvar 50/50... | 5019820 | 2 | 26870
| accessories: base 100 mm hight | SO 100/800/600 | 5000150 | 2 | 144
| accessories: base 200 mm hight | SO 200/800/600 | 5000151 | 2 | 208
Extractable module – 14 % de-tuned | JF525/60ER6ES8206FK14Th** | Stage power kvar 10/20/30 | 5098040 | 2 | 8300
| JF525/75ER6ES8206FK14Th** | Stage power kvar 12,5/12,5/25/25 | 5098080 | 2 | 8636
| JF525/100ER4ES8206FK14Th** | Stage power kvar 25/25/50 | 5098120 | 2 | 8870
| JF525/120/ER6ES8206FK14Th** | Stage power kvar 20/20/40/40 | 5098320 | 2 | 10990
| JF525/100ER8ES8206FK14Th** | Stage power kvar 12,5/12,5/25/50 | 5098200 | 2 | 10780
| JF525/125ER10ES8206FK14Th** | Stage power kvar 12,5/25/37,5/50 | 5098325 | 2 | 10890
| JF525/150ER12ES8206FK14Th** | Stage power kvar 12,5/12,5/25/50… | 5098330 | 2 | 13950
| JF525/150ER6ES8206FK14Th** | Stage power kvar 25/25/50/50 | 5098400 | 2 | 11100
| F525/175ERES8206FK14Th** | Stage power kvar 12,5/25/37,5/50… | 5098440 | 2 | 14500
| JF525/200ER4ES8206FK14Th** | Stage power kvar 50/50/50/50 | 5098480 | 2 | 11270
| JF525/200ER8ES8206FK14Th** | Stage power kvar 25/25/50… | 5098520 | 2 | 14575
| JF525/200ER16ES8206FK14Th** | Stage power kvar 12,5/12,5/25/50… | 5098560 | 2 | 14850
| JF525/250ER5ES8206FK14Th** | Stage power kvar 50/50… | 5098600 | 2 | 15083
| JF525/250ER10ES8206FK14Th** | Stage power kvar 25/25/50… | 5098640 | 2 | 15500
| JF525/250ER20ES8206FK14Th*** | Stage power kvar 12,5/12,5/25/50 | 5098645 | 2 | 18625
| JF525/300ER6ES8206FK14Th** | Stage power kvar 50/50… | 5098685 | 2 | 16010
| JF525/300ER12ES8206FK14Th*** | Stage power kvar 25/25/50… | 5098690 | 2 | 19540
| JF525/400ER8ES8206FK14Th*** | Stage power kvar 50/50… | 5098742 | 2 | 22200
| JF525/500ER10ES8206FK14Th*** | Stage power kvar 50/50... | 5098800 | 2 | 26850
| JF525/600ER12ES8206FK14Th*** | Stage power kvar 50/50... | 5098920 | 2 | 30700
| accessories: base 100 mm hight | SO 100/800/600 | 5000150 | 2 | 144
| accessories: base 200 mm hight | SO 200/800/600 | 5000151 | 2 | 208
Extractable module – without reactors | JF440/100ER8ES8184Th** | Stage power kvar 12,5/12,5/25/50 | 5081920 | 2 | 8048
| JF440/125ER10ES8184Th** | Stage power kvar 12,5/25/37,5/50 | 5081921 | 2 | 8250
| JF440/150ER12ES8184Th** | Stage power kvar 12,5/12,5/25/50/50 | 5081922 | 2 | 9840
| JF440/150ER6ES8184Th** | Stage power kvar 25/25/50/50 | 5081923 | 2 | 8450
| JF440/175ERES8184Th** | Stage power kvar 12,5/25/37,5/50/50 | 5081924 | 2 | 10040
| JF440/180ER9ES8184Th** | Stage power kvar 20/40/40/40/40 | 5081925 | 2 | 10240
| JF440/200ER4ES8184Th** | Stage power kvar 50/50/50/50 | 5081926 | 2 | 7900
| JF440/200ER8ES8184Th** | Stage power kvar 25/25/50/50/50 | 5081927 | 2 | 9500
| JF440/200ER16ES8184Th** | Stage power kvar 12,5/12,5/25/50… | 5081928 | 2 | 10600
| JF440/250ER5ES8184Th** | Stage power kvar 50/50/50/50/50 | 5081929 | 2 | 9800
| JF440/250ER10ES8184Th** | Stage power kvar 25/25/50/50/50/50 | 5081930 | 2 | 10900
| JF440/250ER20ES8184Th*** | Stage power kvar 12,5/12,5/25/50… | 5081931 | 2 | 12300
| JF440/300ER6ES8184Th** | Stage power kvar 50/50… | 8051932 | 2 | 11300
| JF440/300ER12ES8184Th*** | Stage power kvar 25/25/50… | 5081933 | 2 | 12500
| JF440/400ER8ES8184Th*** | Stage power kvar 50/50… | 5081934 | 2 | 14900
| JF440/500ER10ES8184Th*** | Stage power kvar 50/50… | 5081935 | 2 | 18300
| JF440/600ER12ES8184Th*** | Stage power kvar 50/50… | 5081936 | 2 | 22100
| accessories: base 100 mm hight | SO 100/800/400 | 2903317 | 2 | 142
| accessories: base 200 mm hight | SO 200/800/600 | 2903322 | 2 | 206
Dynamic PFC Modules
PFC module – 7 % de-tuned | JF440/10EK1MO86FK7Th | Stage power kvar 10 | 5018650 | 2 | 1735
| JF440/12,5EK1MO86FK7Th | Stage power kvar 12,5 | 5018680 | 2 | 1818
| JF440/20EK1MO86FK7Th | Stage power kvar 20 | 5018710 | 2 | 1906
| JF440/25/EK1MO86FK7Th | Stage power kvar 25 | 5018740 | 2 | 2050
| JF440/40EK1MO86FK7Th | Stage power kvar 40 | 5018770 | 2 | 2227
| JF440/50EK1MO86FK7Th | Stage power kvar 50 | 5018800 | 2 | 2312
| JF440/20/2EK2MO86FK7Th | Stage power kvar 10 | 5018801 | 2 | 3044
| JF440/25/2EK2MO86FK7Th | Stage power kvar 12,5 | 5018830 | 2 | 3064
| JF440/30/2EK2MO86FK7Th | Stage power kvar 10/20 | 5018860 | 2 | 3334
| JF440/40/2EK2MO86FK7Th | Stage power kvar 20 | 5018890 | 2 | 3393
| JF440/50/2EK2MO86FK7Th | Stage power kvar 25 | 5018930 | 2 | 3528
| JF440/75/2EK2MO86FK7Th | Stage power kvar 25/50 | 5018932 | 2 | 3750
| JF440/80/2EK2MO86FK7Th | Stage power kvar 40/40 | 5018933 | 2 | 3790
| JF440/100/2EK2MO86FK7Th | Stage power kvar 50/50 | 5018931 | 2 | 3800
| accessories: controll module with PFC controller Prophi® 6T |  | 5010003 | 2 | 690
| accessories: controll module with PFC controller Prophi® 12T |  | 5010004 | 2 | 835
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO84 | 5000100 | 2 | 16.2
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO86 | 5000101 | 2 | 16.2
PFC module – 14 % de-tuned | JF525/10EK1MO86FK14Th | Stage power kvar 10 | 5012650 | 2 | 2173
| JF525/12,5EK1MO86FK14Th | Stage power kvar 12,5 | 5012680 | 2 | 2215
| JF525/20EK1MO86FK14Th | Stage power kvar 20 | 5012710 | 2 | 2472
| JF525/25EK1MO86FK14Th | Stage power kvar 25 | 5012740 | 2 | 2709
| JF525/40EK1MO86FK14Th | Stage power kvar 40 | 5012770 | 2 | 2807
| JF525/50EK1MO86FK14Th | Stage power kvar 50 | 5012800 | 2 | 2850
| JF525/20/2E2MO86FK14Th | Stage power kvar 10 | 5012803 | 2 | 3811
| JF525/25/2EK2MO86FK14Th | Stage power kvar 12,5 | 5012804 | 2 | 3888
| JF525/30/2EK2MO86FK14Th | Stage power kvar 10/20 | 5012849 | 2 | 4146
| JF525/40/2EK2MO86FK14Th | Stage power kvar 20 | 5012850 | 2 | 4223
| JF525/50/2EK2MO86FK14Th | Stage power kvar 25 | 5012890 | 2 | 4326
| JF525/75/2EK2MO86FK14Th | Stage power kvar 25/50 | 5012893 | 2 | 4480
| JF525/80/2EK2MO86FK14Th | Stage power kvar 40/40 | 5012896 | 2 | 4500
| JF525/100/2EK2MO86FK14Th | Stage power kvar 50/50 | 5012892 | 2 | 4550
| accessories: controll module with PFC controller Prophi® 6T |  | 5010003 | 2 | 690
| accessories: controll module with PFC controller Prophi® 12T |  | 5010004 | 2 | 835
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO84 | 5000100 | 2 | 16.2
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO86 | 5000101 | 2 | 16.2
PFC module – without reactors | JF440/50EK1MO84Th | Stage power kvar 50 | 5081700 | 2 | 1790
| JF440/50/2EK2MO84Th | Stage power kvar 25 | 5081740 | 2 | 2580
| JF440/60/2EK3MO84Th | Stage power kvar 20/40 | 5080775 | 2 | 2625
| JF440/75/2EK3MO84Th | Stage power kvar 25/50 | 5080800 | 2 | 2650
| JF440/80/2EK2MO84Th | Stage power kvar 40 | 5080835 | 2 | 2750
| JF440/100/2EK2MO84Th | Stage power kvar 50 | 5080875 | 2 | 2800
| accessories: controll module with PFC controller Prophi® 6T |  | 5010003 | 2 | 690
| accessories: controll module with PFC controller Prophi® 12T |  | 5010004 | 2 | 835
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO84 | 5000100 | 2 | 16.2
| accessories: Set module fixing rails left/right, | for Rittal cabinets MO86 | 5000101 | 2 | 16.2
PFC systems – Spare parts
Reactors | FKD 2,50 kvar / 7 % |  | 401500 | 1 | 177
| FKD 5,00 kvar / 7 % |  | 401509 | 1 | 195
| FKD 6,25 kvar / 7 % |  | 401510 | 1 | 208
| FKD 10,0 kvar / 7 % |  | 401501 | 1 | 252
| FKD 12,5 kvar / 7 % |  | 401502 | 1 | 255
| FKD 15 kvar / 7 % |  | 401512 | 1 | 260
| FKD 20,0 kvar / 7 % |  | 401503 | 1 | 299
| FKD 25,0 kvar / 7 % |  | 401504 | 1 | 351
| FKD 30,0 kvar / 7 % |  | 401505 | 1 | 360
| FKD 40,0 kvar / 7 % |  | 401506 | 1 | 392
| FKD 50,0 kvar / 7 % |  | 401507 | 1 | 442
| FKD 75,0 kvar / 7 % |  | 401661 | 1 | 559
| FKD 2,50 kvar / 14 % |  | 401525 | 1 | 195
| FKD 5,00 kvar / 14 % |  | 401526 | 1 | 221
| FKD 6,25 kvar / 14 % |  | 401529 | 1 | 226
| FKD 10,0 kvar / 14 % |  | 401528 | 1 | 320
| FKD 12,5 kvar / 14 % |  | 401530 | 1 | 325
| FKD 15 kvar / 14 % |  | 401563 | 1 | 328
| FKD 20,0 kvar / 14 % |  | 401531 | 1 | 335
| FKD 25,0 kvar / 14 % |  | 401532 | 1 | 447
| FKD 30,0 kvar / 14 % |  | 401561 | 1 | 450
| FKD 40,0 kvar / 14 % |  | 401533 | 1 | 481
| FKD 50,0 kvar / 14 % |  | 401534 | 1 | 625
| FKD 75,0 kvar / 14 % |  | 401535 | 1 | 760
Contactors | KS 12,5 kvar / K3-18K10230 |  | 102018 | 1 | 52
| KS 20,0 kvar / K3-24K00230 |  | 104019 | 1 | 60
| KS 25,0 kvar / K3-32K00230 |  | 102014 | 1 | 78
| KS 50,0 kvar / K3-62K00230 |  | 102015 | 1 | 121
| KS 75,0 kvar / K3-74K00230 |  | 102017 | 1 | 156
Thyristors | TSM-LC 10THY (400V / 12,5kvar) |  | 102504 | 1 | 416
| TSM-LC-N 25THY (400V / bis 25kvar) |  | 102516 | 1 | 598
| TSM-LC-N 50THY (400V / bis 50kvar) |  | 102515 | 1 | 647
| TSM-LC-N 690THY (690V / bis 50kvar) |  | 102514 | 1 | 895

## Services
Services
| Type | Description | Item no. | Price group | Price in Euro
Training | GridVis® basic training for beginners, 1 day |  | 5101001 | 4 | 265
| GridVis® additional training for advanced users, 1 day |  | 5101000 | 4 | 295
| GridVis® intensive training for power users, 2 days (includes the GridVis basic® and additional training) |  | 5101002 | 4 | 499
| Graphical programming with Jasic®, 1 day |  | 5101003 | 4 | 395
| Inhouse training |  | 5101004 | 4 | on request
Initial operation | Creating a customer project | including structure of measuring stations (hierarchic structure), with integration of up to 20 devices into an existing IT structure equipped with database. Including one day rate: | 5101005 | 4 | 990
| Creating a customer project | including structure of measuring stations (hierarchic structure), with integration of up to 100 devices into an existing IT structure equipped with database. Including one day rate: | 5101006 | 4 | 2800
| Creating a customer project | Creating a customer project including structure of measuring stations (hierarchic structure), with integration of more than 100 devices into an existing IT structure equipped with database. According quotation | 5101007 | 4 | on request
Sonstige Dienstleistungen | Create a cost center recording | with virtual devices and specific evaluations / reports (final expenses according to efforts) Day rate | 5101008 | 4 | 990
| Creation of APPs and / or Jasic ® programming | day rate | 5101009 | 4 | 990
| Adaption of UMG homepages | day rate | 5101010 | 4 | 990
| Design of an energy monitoring and power quality monitoring system | Discussion and analysis of the actual condition on site, develop a customized solution. Price according to efforts, Day rate | 5101011 | 4 | 990
| Maintenance of an energy monitoring and power quality monitoring system | with a check of the communication parameters, analysis of the plausibility of the measurement values, device firmware- and GridVis ® upgrades Price according to efforts, Day rate | 5101012 | 4 | 990
| Onsite network analysis of an existing system | Extensive network data collection with recording of interfering source, evaluation of the power quality according to EN standards, of the basic data (U, I, P, Q, S, cos-phi, ...), of the critical network parameters (harmonics, flickers, transients, ...) and PFC design as well. Price according to efforts. Day rate | 5101013 | 4 | 990
| Creation of dashboards / templates | Creation of customer-specific dashboards and templates on a T&M basis. The customer will supply their specifications - Daily rate | 5101061 | 4 | 990
| Creation of widgets | Creation of customer-specific widgets on a T&M basis. The customer will supply their specifications - Daily rate | 5101062 | 4 | 990
| Integration test of generic ModBus devices | Price according to efforts. Day rate | 5101014 | 4 | 990
| Loan device mobile energy measurement device MRG 96RM-E RCM Flex |  | 51.01.030 | 4 | 350
| Loan device power quality analyser MRG 512 PQ Flex for a power analysis according to EN 50160 |  | 51.01.031 | 4 | 600
| PFC service | services in accordance with the maintenance contract | 5101017 | 4 | on request
| PFC service | yearly PFC check including daily rate | 5101025 | 4 | 990
| TeamViewer session | per hour | 5104050 | 4 | 124
| Remote maintenance contracts | on an annual basis for monitoring and energy management systems | 5101060 | 4 | on request
| Calibration with calibration reports | UMG 96RM-Family, UMG 103, 104, 604, 605, 508, 509, 511, 512, MRG | 8810015 | 4 | 99
| PQ QuickCheck to EN 61000-2-4/EN50160 |  | 5101024 | 4 | 245

## Charge rates
Charge rates for assembly and commissioning
| Normal working hours 6.30 – 15.30 hrs | Mo – Th 15.30 – 17.30 hrs 25% surcharge | Friday 12.15 – 14.15 hrs 25% surcharge | Mo – Th 17.30 – 20.00 hrs 40% surcharge | Friday 14.15 – 20.00 hrs 40% surcharge | Night work 20.00 – 6.30 hrs 50% surcharge
Engineer / technician | EUR 124.00 per hour | EUR 31.00 per hour | EUR 31.00 per hour | EUR 50.00 per hour | EUR 50.00 per hour | EUR 62.00 per hour
Travel time: Travel time that occurs within the normal working hours is charged at the standard day rates -25%, including daily allowance.
Daily allowance (domestic): | 10–14 hours |  |  | EUR 28.00
| 14–24 hours |  |  | EUR 34.00
| > 24 hours |  |  | EUR 55.00
Vehicles: | Transporter up to 2.0 t |  |  | EUR 0.85/km
| Car |  |  | EUR 0.65/km
Normal working time: | Monday - Thursday |  |  | 6.30 – 15.30 hrs
| Friday |  |  | 6.30 – 12.15 hrs
Overtime and public holiday surcharges: | The first two hours on Saturday |  |  | 25%
| Further hours on Saturday |  |  | 40%
| Sunday hours |  |  | 70%
| On 24th + 31st December from 14.00 hrs |  |  | 70%
| From 20.00 hrs |  |  | 100%
| Public holiday hours |  |  | 150%
Public holiday hours: For public holiday hours, the statutory holidays for the assembly site shall apply.
Accommodation expenses: Accommodation flat rate of EUR 120 per night Verifiable accommodation costs, which extend beyond the flat rate for accommodation, will be invoiced for separately with a factor of 1.1. If board and/or lodging is provided by the customer at the assembly site then separate reimbursement rates must be agreed before the assembly.